## 2025-2026
Uralla Council - 2025/26 |  |  |  | Analysis performed by Lanfax Laboratories, Armidale
Uralla Water Treatment Works - Lic. 1629 | [7 empty] | Licence Period 1April 2025 to 31 March 2026 | [6 empty] | Licence Period 1April 2025 to 31 March 2026
Parameter/month |  | Licence | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01 | 2026-01-01 | 2026-02-01 | 2026-03-01 | Minimum | Average | Maximum | 100th | Parameter
Sample date |  | Limits | 2025-04-01: 2024-04-30; 2025-05-01: 2025-05-30 |  |  |  | percentile
BOD5 | mg/L | 20 | 2025-04-01: 2.7; 2025-05-01: 3.4 | 2.7 | 3.05 | 3.4 | 3.4 | BOD5
TSS | mg/L | 30 | 2025-04-01: 10; 2025-05-01: 5 | 5 | 7.5 | 10 | 10 | TSS
TOG | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test |  |  |  |  | TOG
pH |  | 6.5-8.5 | 2025-04-01: 6.53; 2025-05-01: 6.7 | 6.53 | 6.615 | 6.7 | 6.7 | pH
NH3-N | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
NOx-N | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
TKN | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
TN | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
TP | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
ortho-P | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
Aluminium | mg/L | no limit | 2025-04-01: 0.07; 2025-05-01: 0.009 | 0.009 | 0.0395 | 0.07 | 0.07 | Aluminium
EC | uS/cm | no limit | 2025-04-01: 321; 2025-05-01: 293 | 293 | 307 | 321 | 321 | EC
Uralla Sewage Treatment Plant - Lic. 1626 |  |  | 2025-09-01: Licence Period 1April 2025 to 31 March 2026 | Licence Period 1April 2025 to 31 March 2026 |  |  |  |  | Special conditions
Parameter/month |  | Licence | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01 | 2026-01-01 | 2026-02-01 | 2026-03-01 | Minimum | Average | Maximum | 90th | Parameter | Jun-Sep |  | Oct-May
Sample date |  | Limits | 2025-04-01: 2024-04-30; 2025-05-01: 2025-05-30 |  |  |  | percentile |  | Licence | 90th %ile | Licence | 90th %ile
BOD5 | mg/L | 15 | 2025-04-01: 6.2; 2025-05-01: 3.6 | 3.6 | 4.9 | 6.2 | 5.94 | BOD5 | 15 | #VALUE! | 15 | 5.94
TSS | mg/L | 20 | 2025-04-01: 13; 2025-05-01: 16 | 13 | 14.5 | 16 | 15.7 | TSS | 20 | #VALUE! | 20 | 15.7
TOG | mg/L | 10 | 2025-04-01: <10; 2025-05-01: <10 | <10 | <10 | <10 | <10 | TOG | 10 | <10 | 10 | <10
pH |  | 6.5-8.5 | 2025-04-01: 7.18; 2025-05-01: 6.95 | 6.95 | 7.065 | 7.18 | 7.157 | pH | 6.5-8.5 | #VALUE! | 6.5-8.5 | 7.157
NH3-N | mg/L | 1 | 2025-04-01: 1.09; 2025-05-01: 1 | 1 | 1.045 | 1.09 | 1.081 | NH3-N | 5 | #VALUE! | 1 | 1.081
NOx-N | mg/L | no limit | 2025-04-01: 0.71; 2025-05-01: 0.62 | 0.62 | 0.665 | 0.71 | 0.701 | NOx-N
TKN | mg/L | no limit | 2025-04-01: 3.59; 2025-05-01: 7.28 | 3.59 | 5.435 | 7.28 | 6.911 | TKN
TN | mg/L | 10 | 2025-04-01: 4.3; 2025-05-01: 7.9 | 4.3 | 6.1 | 7.9 | 7.54 | TN | 15 | #VALUE! | 10 | 7.54
TP | mg/L | 1 | 2025-04-01: 1.75; 2025-05-01: 0.9 | 0.9 | 1.325 | 1.75 | 1.665 | TP | 1 | #VALUE! | 1 | 1.665
ortho-P | mg/L | no limit | 2025-04-01: 0.753; 2025-05-01: 0.01 | 0.01 | 0.3815 | 0.753 | 0.6787 | ortho-P
Aluminium | mg/L | no limit | 2025-04-01: 0.007; 2025-05-01: 0.196 | 0.007 | 0.1015 | 0.196 | 0.1771 | Aluminium
EC | uS/cm | no limit | 2025-04-01: 584; 2025-05-01: 494 | 494 | 539 | 584 | 575 | EC
FC | cfu/100 mL | 200 | [12 empty] | 1 | 1 | 1 | 1 | FC | 200 | #VALUE! | 200 | 1 | bar: 2025-04-01 to 2025-09-01
| lower 90th percentile limit OCT-MAY, upper 90th percentile limit JUN-SEP | [13 empty] | Note: 90th percentile lower limit OCT-MAY, 90th percentile upper limit JUN-SEP
All units mg/L, except pH (units); EC uS/cm; FC cfu/100 mL
Note: FC as zero is actually <1 cfu/100 mL
Uralla STP RAW SEWAGE |  |  | 2025-09-01: Licence Period 1April 2025 to 31 March 2026
Parameter/month |  | Licence | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01 | 2026-01-01 | 2026-02-01 | 2026-03-01 | Minimum | Average | Maximum | 90th | Parameter
Sample date |  | Limits | 2025-04-01: 2024-04-30; 2025-05-01: 2025-05-30 |  |  |  | percentile
BOD5 | mg/L | no limit | 2025-04-01: 162; 2025-05-01: 42 | 42 | 102 | 162 | 150 | BOD5
TSS | mg/L | no limit | 2025-04-01: 133; 2025-05-01: 35 | 35 | 84 | 133 | 123.2 | TSS
TOG | mg/L | no limit | 2025-04-01: 15; 2025-05-01: 10 | 10 | 12.5 | 15 | 14.5 | TOG
pH |  | no limit | 2025-04-01: 7.62; 2025-05-01: 7.51 | 7.51 | 7.565 | 7.62 | 7.609 | pH
NH3-N | mg/L | no limit | 2025-04-01: 56; 2025-05-01: 12.8 | 12.8 | 34.4 | 56 | 51.68 | NH3-N
NOx-N | mg/L | no limit | 2025-04-01: 0.41; 2025-05-01: 1.45 | 0.41 | 0.93 | 1.45 | 1.346 | NOx-N
TKN | mg/L | no limit | 2025-04-01: 75.6; 2025-05-01: 22.9 | 22.9 | 49.25 | 75.6 | 70.33 | TKN
TN | mg/L | no limit | 2025-04-01: 76; 2025-05-01: 24.4 | 24.4 | 50.2 | 76 | 70.84 | TN
TP | mg/L | no limit | 2025-04-01: 9.94; 2025-05-01: 1.72 | 1.72 | 5.83 | 9.94 | 9.118 | TP
ortho-P | mg/L | no limit | 2025-04-01: 7.36; 2025-05-01: 1.17 | 1.17 | 4.265 | 7.36 | 6.741 | ortho-P
Aluminium | mg/L | no limit | 2025-04-01: 0.058; 2025-05-01: 0.085 | 0.058 | 0.0715 | 0.085 | 0.0823 | Aluminium
EC | uS/cm | no limit | 2025-04-01: 1017; 2025-05-01: 509 | 509 | 763 | 1017 | 966.2 | EC
PIRMP | http://www.uralla.nsw.gov.au/files/uploaded/file/Your%20Council/Council%20Documents/Operating%20Policies/Water%20and%20Sewer%20Pollution%20Incident%20Response%20Management%20Plan%20-%20Update%2010%20Feb%202017.pdf

## 2024-2025
Uralla Council - 2024/25 |  |  |  | Analysis performed by Lanfax Laboratories, Armidale
Uralla Water Treatment Works - Lic. 1629 | [7 empty] | Licence Period 1April 2024 to 31 March 2025 | [6 empty] | Licence Period 1April 2024 to 31 March 2025
Parameter/month |  | Licence | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | Minimum | Average | Maximum | 100th | Parameter
Sample date |  | Limits | 2024-04-30 | 2024-05-31 | 2024-06-26 | 2024-07-31 | 2024-08-30 | 2024-09-30 | 2024-10-31 | 2024-11-29 | 2025-12-30 | 2025-01-30 | 2025-02-28 | 2025-03-28 |  |  |  | percentile
BOD5 | mg/L | 20 | 4.4 | 6 | 0.9 | 1.1 | 2.3 | 2 | 1.4 | 8.7 | 2 | 9.3 | 5 | 6.15 | 0.9 | 4.1042 | 9.3 | 9.3 | BOD5
TSS | mg/L | 30 | 3 | 5 | 5 | 25 | 10 | 3 | 13 | 15 | 3 | 16.7 | 17 | 17 | 3 | 11.0583 | 25 | 25 | TSS
TOG | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test |  |  |  |  | TOG
pH |  | 6.5-8.5 | 7.32 | 7.77 | 6.97 | 6.82 | 6.77 | 6.7 | 7.3 | 6.76 | 7.46 | 7.5 | 7.66 | 7.46 | 6.7 | 7.2075 | 7.77 | 7.77 | pH
NH3-N | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
NOx-N | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
TKN | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
TN | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
TP | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
ortho-P | mg/L | n.t. | not tested | not tested | not tested | not tested | not tested | no test | no test | no test | no test | no test | no test | no test
Aluminium | mg/L | no limit | <0.005 | <0.005 | <0.005 | 0.03 | <0.005 | 0.02 | 0.009 | <0.005 | 0.023 | 0.056 | 0.037 | 0.033 | 0.009 | 0.029714 | 0.056 | 0.056 | Aluminium
EC | uS/cm | no limit | 681 | 596 | 488 | 391 | 378 | 458 | 465 | 488 | 506 | 519 | 563 | 582 | 378 | 509.5833 | 681 | 681 | EC
Uralla Sewage Treatment Plant - Lic. 1626 |  |  | 2024-09-01: Licence Period 1April 2024 to 31 March 2025 | Licence Period 1April 2024 to 31 March 2025 |  |  |  |  | Special conditions
Parameter/month |  | Licence | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | Minimum | Average | Maximum | 90th | Parameter | Jun-Sep |  | Oct-May
Sample date |  | Limits | 2024-04-30 | 2024-05-31 | 2024-06-26 | 2024-07-31 | 2024-08-30 | 2024-09-30 | 2024-10-31 | 2024-11-29 | 2025-12-30 | 2025-01-30 | 2025-02-28 | 2025-03-28 |  |  |  | percentile |  | Licence | 90th %ile | Licence | 90th %ile
BOD5 | mg/L | 15 | 1.5 | 3.3 | 2.7 | 3.3 | 4.5 | 3.3 | 4.4 | 8.9 | 1.7 | 7.8 | 5.7 | 4.5 | 1.5 | 4.3 | 8.9 | 7.59 | BOD5 | 15 | 4.14 | 15 | 8.13
TSS | mg/L | 20 | 3 | 5 | 5 | 15 | 20 | 15 | 8 | 13.3 | 3 | 13.3 | 18 | 20 | 3 | 11.55 | 20 | 19.8 | TSS | 20 | 18.5 | 20 | 18.6
TOG | mg/L | 10 | <10 | <10 | <10 | <10 | <10 | <10 | <10 | <10 | <2 | <10 | <10 | <10 | <10 | <10 | <10 | <10 | TOG | 10 | <10 | 10 | <10
pH |  | 6.5-8.5 | 8 | 6.96 | 6.43 | 6.68 | 6.57 | 6.26 | 6.67 | 6.76 | 7.84 | 6.53 | 7.37 | 7.94 | 6.26 | 7.0008 | 8 | 7.93 | pH | 6.5-8.5 | 6.647 | 6.5-8.5 | 7.958
NH3-N | mg/L | 1 | 0.75 | 0.99 | 1.16 | 2.41 | 0.67 | 2.17 | 0.76 | 0.82 | 1.01 | 1.27 | 0.81 | 0.15 | 0.15 | 1.0808 | 2.41 | 2.08 | NH3-N | 5 | 2.338 | 1 | 1.088
NOx-N | mg/L | no limit | 0.39 | 1.03 | 1.31 | 1.21 | 0.57 | 1.35 | 1.42 | 1.03 | 1.21 | 0.86 | 3.37 | 1.29 | 0.39 | 1.2533 | 3.37 | 1.413 | NOx-N
TKN | mg/L | no limit | 2.31 | 2.97 | 2.69 | 3.89 | 3.53 | 3.55 | 3.28 | 1.77 | 1.19 | 5.14 | 1.53 | 3.2 | 1.19 | 2.9208 | 5.14 | 3.856 | TKN
TN | mg/L | 10 | 2.7 | 4 | 4 | 5.1 | 4.1 | 4.9 | 4.7 | 2.8 | 2.4 | 6 | 4.9 | 4.5 | 2.4 | 4.175 | 6 | 5.08 | TN | 15 | 5.04 | 10 | 5.23
TP | mg/L | 1 | 0.08 | 0.15 | 0.05 | 0.15 | 0.13 | 0.13 | 0.07 | 0.21 | 0.09 | 0.38 | 0.27 | 0.64 | 0.05 | 0.19583 | 0.64 | 0.369 | TP | 1 | 0.144 | 1 | 0.458
ortho-P | mg/L | no limit | 0.01 | 0.044 | 0.045 | 0.025 | 0.06 | 0.05 | 0.005 | 0.072 | 0.043 | 0.1 | 0.036 | 0.202 | 0.005 | 0.057667 | 0.202 | 0.0972 | ortho-P
Aluminium | mg/L | no limit | 0.017 | <0.005 | 0.006 | 0.05 | 0.005 | 0.009 | 0.017 | 0.003 | 0.014 | <0.005 | 0.002 | 0.067 | 0.002 | 0.019 | 0.067 | 0.0517 | Aluminium
EC | uS/cm | no limit | 810 | 1058 | 854 | 611 | 763 | 857 | 872 | 849 | 650 | 950 | 921 | 914 | 611 | 842.4167 | 1058 | 947.1 | EC
FC | cfu/100 mL | 200 | 1 | <1 | <1 | <1 | 1 | 32 | 1 | 10 | 280 | 500 | 2 | 18 | 1 | 93.8889 | 500 | 324 | FC | 200 | 28.9 | 200 | 368
| lower 90th percentile limit OCT-MAY, upper 90th percentile limit JUN-SEP | [13 empty] | Note: 90th percentile lower limit OCT-MAY, 90th percentile upper limit JUN-SEP
All units mg/L, except pH (units); EC uS/cm; FC cfu/100 mL
Note: FC as zero is actually <1 cfu/100 mL
Uralla STP RAW SEWAGE
Parameter/month |  | Licence | 2024-04-01 | 2024-05-01 | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | 2024-11-01 | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | Minimum | Average | Maximum | 90th | Parameter
Sample date |  | Limits | 2024-04-30 | 2024-05-31 | 2024-06-26 | 2024-07-31 | 2024-08-30 | 2024-09-30 | 2024-10-31 | 2024-11-29 | 2025-12-30 | 2025-01-30 | 2025-02-28 | 2025-03-28 |  |  |  | percentile
BOD5 | mg/L | no limit | 135 | 64.5 | 60 | 60 | 117 | 99 | 61.5 | 76.5 | 107 | 237 | 195 | 263 | 60 | 122.9583 | 263 | 232.8 | BOD5
TSS | mg/L | no limit | 47 | 30 | 47 | 65 | 127 | 40 | 20 | 40 | 53 | 720 | 330 | 440 | 20 | 163.25 | 720 | 429 | TSS
TOG | mg/L | no limit | 15 | 15 | 15 | <10 | 10 | 15 | 20 | 10 | 15 | 15 | 15 | 10 | 10 | 14.0909 | 20 | 15 | TOG
pH |  | no limit | 7.1 | 7.58 | 7.53 | 7.66 | 7.6 | 7.61 | 7.6 | 7.52 | 7.77 | 7.8 | 7.63 | 7.37 | 7.1 | 7.5642 | 7.8 | 7.759 | pH
NH3-N | mg/L | no limit | 42.7 | 44.7 | 28.1 | 20.4 | 41 | 48.5 | 35.2 | 51.9 | 49.6 | 73.4 | 58.1 | 47.5 | 20.4 | 45.0917 | 73.4 | 57.48 | NH3-N
NOx-N | mg/L | no limit | 0.71 | 0.38 | 0.35 | 1.61 | 0.35 | 1.08 | 0.79 | 1.05 | 2.48 | 3.41 | 3.61 | 0.57 | 0.35 | 1.3658 | 3.61 | 3.317 | NOx-N
TKN | mg/L | no limit | 61.7 | 65.6 | 44.9 | 28.4 | 50.5 | 52.1 | 38.8 | 59 | 52.3 | 98.6 | 67.2 | 73 | 28.4 | 57.675 | 98.6 | 72.42 | TKN
TN | mg/L | no limit | 62.4 | 66 | 45.2 | 30 | 50.8 | 53.2 | 39.6 | 60 | 54.8 | 102 | 70.8 | 73.6 | 30 | 59.0333 | 102 | 73.32 | TN
TP | mg/L | no limit | 1.52 | 6.6 | 4.36 | 2.9 | 5.42 | 5.48 | 4.34 | 6.54 | 6.9 | 10.2 | 8.54 | 10.14 | 1.52 | 6.0783 | 10.2 | 9.98 | TP
ortho-P | mg/L | no limit | 0.9 | 5.9 | 4.09 | 2.26 | 3.66 | 4.67 | 3.48 | 5.43 | 5.55 | 8.98 | 6.78 | 5.65 | 0.9 | 4.7792 | 8.98 | 6.692 | ortho-P
Aluminium | mg/L | no limit | 0.049 | 0.025 | 0.037 | 0.06 | 0.013 | 0.024 | <0.005 | 0.038 | 0.024 | 0.016 | <0.005 | 0.02 | 0.013 | 0.0306 | 0.06 | 0.0501 | Aluminium
EC | uS/cm | no limit | 1449 | 1282 | 918 | 579 | 852 | 1005 | 883 | 1077 | 1133 | 1430 | 1276 | 1297 | 579 | 1098.4167 | 1449 | 1416.7 | EC
PIRMP | http://www.uralla.nsw.gov.au/files/uploaded/file/Your%20Council/Council%20Documents/Operating%20Policies/Water%20and%20Sewer%20Pollution%20Incident%20Response%20Management%20Plan%20-%20Update%2010%20Feb%202017.pdf